# Northland Field Days Inc.

# Hazardous Substances Inventory & SDS Index

Version 2025.3

This inventory lists all hazardous substances used or stored onsite during setup, event operations and pack-down at Northland Field Days. It supports compliance with the Health and Safety at Work (Hazardous Substances) Regulations 2017.

A full Safety Data Sheet (SDS) must be held and accessible for each substance.

## 1. Inventory Summary

| Substance Name | Type | Supplier | Maximum Quantity Onsite | Location Stored | SDS Available (Y/N) | Hazards | Controls in Place |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Petrol | Flammable liquid | Local petrol station / exhibitor stock | Up to 60L | Fuel storage cage | Y | Flammable, explosive | Approved containers, ignition control, spill kit |
| Diesel | Combustible liquid | Local supplier | Up to 200L | Fuel storage cage | Y | Combustible | Bunding, secure storage, PPE |
| LPG (Gas Bottles) | Flammable gas | Various food vendors | Multiple 9kg cylinders | Vendor stalls (secured) | Y | Explosion, fire | Secured upright, leak checks, fire extinguishers |
| Cleaning Chemicals | Corrosive/ Irritant | Commercial supplier | Moderate | Cleaning shed | Y | Irritation, burns | PPE, labelled containers |
| Paints/Sprays | Flammable/ Irritant | Hardware supplier | Low | Workshop container | Y | Vapours, flammable | Ventilation, PPE |
| Oil/Grease | Environmentally hazardous | Exhibitor supplies | Low | Machinery demonstration area | Y | Skin/eye irritation | PPE, correct disposal |
| Battery Acid (in equipment batteries) | Corrosive | Built-in | Varies | Machinery/ATVs | Y | Burns, corrosive | PPE, spill kit |
| Fertiliser/Pesticides (if used in demos) | Toxic/Environmental | Exhibitor supplies | Low | Demo areas | Y | Poisoning, environmental | Closed containers, training |

## 2. Storage Requirements

### 2.1 Fuel (Petrol & Diesel)

- Stored in approved, labelled containers

- Kept in locked fuel storage cage

- No smoking or ignition sources within 3 metres

- Spill kit kept adjacent

- Bunding used when storing >60L diesel

### 2.2 LPG Cylinders

- Stored upright and secured

- Checked daily for leaks

- Regulators, hoses and fittings must be compliant

- Not stored inside enclosed tents overnight

### 2.3 Cleaning Chemicals

- Stored in original containers

- SDS available in cleaning shed

- PPE (gloves, eyewear) required

### 2.4 Oils & Lubricants

- Stored in sealed containers

- Drip trays must be used during machinery servicing

- Waste oils collected and removed by approved contractor

### 2.5 Agricultural Chemicals (If Applicable)

- Only competent handlers may use agrichemicals

- Must be locked when not in use

- Spill containment required

## 3. Emergency Equipment

| Equipment | Required Locations | Purpose |
| --- | --- | --- |
| Spill Kits | Fuel storage, demo zones, workshops | Absorbent pads, booms, PPE for spill response |
| Fire Extinguishers | Food vendors, fuel storage, high-risk zones | For gas/fuel fires (ABE or CO₂) |
| First Aid Kits | Office, roving first aiders, demo areas | Eye wash, burn treatment, PPE |
| Eye Wash Bottles | Cleaning shed, demo zones | Chemical splash response |

## 4. SDS Index

A complete SDS must be kept: - Digitally (via QR code or folder) - Physically in a Hazardous Substances Folder stored in the office

### SDS Index Table

| Substance | SDS Supplier | Issue Date | Expiry/Review | Location of SDS |
| --- | --- | --- | --- | --- |
| Petrol | Allied Petroleum | 2024 | 2029 | Hazardous Substances Folder + QR link |
| Diesel | Allied Petroleum | 2024 | 2029 | Folder + QR link |
| LPG | Elgas | 2023 | 2028 | Folder + vendor stall copies |
| Cleaning Agents | Diversey | 2023 | 2026 | Cleaning shed |
| Degreasers | CRC | 2024 | 2029 | Workshop |
| Oils/Greases | Castrol / CRC | 2024 | 2029 | Workshop |
| Agrichemicals (if used) | Exhibitor supplied | Various | Various | Demo area |

## 5. Responsibilities

### HSO

- Maintain hazardous substances inventory

- Ensure SDS are current and accessible

- Provide training and PPE guidance

### Volunteers & Staff

- Follow all hazardous substances procedures

- Report spills or damage immediately

### Vendors & Exhibitors

- Supply SDS for all products brought onsite

- Ensure safe storage and handling inside their stalls

## 6. Spill Response Procedure (Summary)

- Stop the spill at the source if safe to do so.

- Warn people nearby and isolate the area.

- Contain using spill kits (booms, pads).

- Report to HSO immediately.

- Dispose of waste through approved contractor.

- Record the spill in the incident register.

## 7. Annual Review & Updates

This register must be reviewed: - Annually - When a new substance is introduced - After an incident involving hazardous substances

HSO: ___________________________
Date: ___________________________