### Northland Field Days Inc.

## Appendix J – Electrical Sign-Off

Version 2025.3

This form is used to verify that all electrical installations at Northland Field Days have been inspected and signed off as safe prior to the event opening.

### Event Details

Event Name: _______________________________________________

Inspection Date: ____________________________________________

Inspector Name: ____________________________________________

Role (HSO / Contractor / Electrician / Engineer): __________________

Contact: ___________________________________________________

### Electrical Installations Inspection

(Including distribution boards, generators, cables, lighting, vendor connections)

| Item | Yes | No | N/A | Notes / Issues Identified |
| --- | --- | --- | --- | --- |
| Inspection completed by qualified electrician | ☐ | ☐ | ☐ |  |
| All cables test & tagged within valid date | ☐ | ☐ | ☐ |  |
| RCD protection installed where required | ☐ | ☐ | ☐ |  |
| Cables elevated or ramped to avoid trip hazards | ☐ | ☐ | ☐ |  |
| Distribution boards secured & weather-protected | ☐ | ☐ | ☐ |  |
| Generators placed in ventilated safe zones | ☐ | ☐ | ☐ |  |
| No exposed live parts or damaged equipment | ☐ | ☐ | ☐ |  |
| Vendor equipment compliant and inspected | ☐ | ☐ | ☐ |  |
| Pegging restrictions observed (no driving into services) | ☐ | ☐ | ☐ |  |

Additional Comments

### Risk Assessment Summary

Any hazards identified during inspection? ☐ Yes ☐ No
If YES, complete below:

| Hazard / Issue | Immediate Action Taken | Person Responsible | Due Date |
| --- | --- | --- | --- |

### Final Approval

I confirm that all inspected temporary structures and electrical installations are safe for use, and any identified issues have been controlled or scheduled for corrective action.

Inspector Name:

Signature:

Date:

HSO Approval:

Signature:

Date: