### Northland Field Days Inc.

## Appendix J – Temporary Structures & Electrical Sign-Off

Version 2025.1 – Draft

This form is used to verify that all temporary structures and electrical installations at Northland Field Days have been inspected and signed off as safe prior to the event opening.

### 1. Event Details

Event Name: ________________________________________________
Inspection Date: ____________________________________________
Inspector Name: _____________________________________________
Role (HSO / Contractor / Electrician / Engineer): _______________
Contact: _____________________________________________________

### 2. Temporary Structures Inspection

(Structures include marquees, tents, staging, platforms, gantries, signage towers)

| Item | Yes | No | N/A | Notes / Issues Identified |
| --- | --- | --- | --- | --- |
| Structure installed by competent personnel | ☐ | ☐ | ☐ |  |
| Engineer sign-off required? | ☐ | ☐ | ☐ |  |
| Structural integrity confirmed (frames, trusses, joints) | ☐ | ☐ | ☐ |  |
| All guy ropes and anchor points secure | ☐ | ☐ | ☐ |  |
| Ballast/weights correctly installed | ☐ | ☐ | ☐ |  |
| No visible damage or deformation | ☐ | ☐ | ☐ |  |
| Wind rating appropriate for expected conditions | ☐ | ☐ | ☐ |  |
| Pegging complies with underground service restrictions | ☐ | ☐ | ☐ |  |
| Access/egress clear and unobstructed | ☐ | ☐ | ☐ |  |
| Fire extinguishers present if required | ☐ | ☐ | ☐ |  |

##### 2.1 Additional Comments

### 3. Electrical Installations Inspection

(Including distribution boards, generators, cables, lighting, vendor connections)

| Item | Yes | No | N/A | Notes / Issues Identified |
| --- | --- | --- | --- | --- |
| Inspection completed by qualified electrician | ☐ | ☐ | ☐ |  |
| All cables test & tagged within valid date | ☐ | ☐ | ☐ |  |
| RCD protection installed where required | ☐ | ☐ | ☐ |  |
| Cables elevated or ramped to avoid trip hazards | ☐ | ☐ | ☐ |  |
| Distribution boards secured & weather-protected | ☐ | ☐ | ☐ |  |
| Generators placed in ventilated safe zones | ☐ | ☐ | ☐ |  |
| No exposed live parts or damaged equipment | ☐ | ☐ | ☐ |  |
| Vendor equipment compliant and inspected | ☐ | ☐ | ☐ |  |
| Pegging restrictions observed (no driving into services) | ☐ | ☐ | ☐ |  |

##### 3.1 Additional Comments

### 4. Risk Assessment Summary

Any hazards identified during inspection? ☐ Yes ☐ No
If YES, complete below:

| Hazard / Issue | Immediate Action Taken | Person Responsible | Due Date |
| --- | --- | --- | --- |

### 5. Final Approval

I confirm that all inspected temporary structures and electrical installations are safe for use, and any identified issues have been controlled or scheduled for corrective action.

Inspector Name: __________________________________________
Signature: _______________________________________________
Date: ______________________________________________________

HSO Approval: ____________________________________________
Signature: _______________________________________________
Date: ______________________________________________________